A,IP 摄像机的选择

型号的选择：

|  |  |  |
| --- | --- | --- |
| DV-HIH3352R | IR 200FT, 1080P IR bullet IP Camera; 1/4 " Progressive Scan CMOS; 1920\*1080  Video out:IP Interface(RJ45) DC 12V; IP66 Bracket | $106.95 |
| DV-HIH2492R 1080p High Definition | Metal indoor/outdoor dome IP Camera with IR 100FT distance;  1/2.5" Progressive Scan 1920\*1080/30p Video out: 1CH BNC,1CH Network DC 12V; IP66 | $210.11 |
| DV-HIL2334R | 1/4" Omnivision 1.3 Megapixel CMOS Sensor 2 Megapixel HD Board Lens 3.6mm Lens IR CUT Filter with Auto Switch IR LED: ￠5X24PCS,20M IR Range • Waterproof IP66 Camera • Advanced H.264 High profile compression • Support several servers, IP address, DDNS,FTP,SMTP • Support single, dual streams • Support iPhone, iPad, Android remote view • Support browsers: IE • Support connect to NVR • Reliablity and compatibility • Low streams and high resolution image • Size: ￠94 x 69(H) mm; Weight: 450g | $105.43 |
| DV-HIL-PTZ6492R-10 | 1/2.8" SONY CMOS 1.3 MP 4 inch indoor IP IR camera (NTSC, ceiling bracket, American standard adapter); A Remote Control for Pan, Tilt & Zoom;10X;  DV-12V2A | $547.96 |